Prepare 10% HCL Solution

General

- always add acid to water, never water to acid, to avoid exothermic reactions / splashing

- dilute it using the standard formula C₁V₁ = C₂V₂

  - C1 = [] of stock solution (37%)

  - V1 = Required final volume from stock solution (?)

  - C2 = [] of final solution (10%)

  - V2 = Final solution volume (500ml, 1000ml, etc.)

- Rearrange formula: V1 = (C2V2) / C1

  - For 1 Liter (1000 mL) of 10% HCl:

    - V1 = (10 x 1000 ml) / 37 = 270.3 ml

    - Mix 270 mL of 37% HCl into 730 mL of distilled water

  - For 500 mL of 10% HCl:

    - V1 = (10 x 500 ml) / 37 = 135.1 ml

    - Mix 135 mL of 37% HCl into 365 mL of distilled water

- For 50 125ml bottles: 125/2 = 62.5, times 50 = 3,125 ml (3.125 L)

Materials:

- 37% HCL

- Measuring flash (500 ml)

- Distilled water

- Pipette

- Funnel

Step-by-Step Instructions

- Safety PPE:

  - safety goggles, lab coat, and chemical-resistant gloves

- Measure the Water:

  - Pour slightly less than the required amount of distilled water into an appropriate borosilicate glass container (like a beaker or volumetric flask).

- Add the Acid:

  - Slowly add the concentrated HCl to the water.

- Dilute to the Mark:

  - Add the remaining distilled water to bring the final volume to the desired mark. Swirl the mixture gently to ensure it is fully blended.

Acid Wash Procedure (for trace elements / Sr)

- Fill them with 10% HCL, let them soak for a week

- Flip them and then soak another week

- Empty and rinse six times with Milli-Q water

- If just strontium, a rinse x3 with milli-Q should be fine

Water Sampling for Strontium and Trace Metals

Materials:

- 1 L Nalgene for short term collection and storage until filtering

- 125 ml sample container bottle, acid washed

- 60 ml syringe, standard tip

- 0.45 µm syringe filter

- Nitrile gloves

- Sharpie, for labeling

Protocol (https://www.youtube.com/watch?v=JV11tOIdQks):

- Collect water sample in large Nalgene (1 L)

- Rinse syringe with sample water (full draw and expel). Repeat 3x.

- Rinse sample bottle

- Expel ~2-5 ml from syringe on ground.

- Add ~5-10 ml water to bottle, cap, shake vigorously, and dump.

- Repeat 3x.

- Collect water sample

- Squeeze remaining water into sample container

- Refill syringe as needed to collect 125 ml

- Cap and label bottle

- Store on ice.

Notes:

- DO NOT let syringe filter touch anything but the plastic came in.